## Distribution input form
Electricity Distribution Performance Reporting Form
Reporting year | FY2024-25
Licence holder | Horizon Power (EIRL2)
Contact person name | Gerard Chow
Position | Data Management Officer
Email address | gerard.chow@horizonpower.com.au
Phone number | 0419020063
Reporting category | Description | Indicator | Unit | Data input | Comments
Network & Asset Information
Customer connections
| New connections provided | CCD1 | Number of | 581
| New connections not provided by the agreed date | CCD2 | Number of | 1
| Reconnections provided | CCD4 | Number of | 6825
| Reconnections that were not provided within the prescribed time | CCD5 | Number of | 0
| Connections on the distribution system as of June 30 | CCD7 | Number of | 50612
Metered supply points by feeder category (customer type) |  | NQR12
Residential
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 40 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Number of | 48226 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Number of | 2011
| Standalone power systems |  | Number of | 84
Non-residential
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | N/A | Unable to dertermine customer type from data. All customers set as residential
| Short rural |  | Number of | N/A | Unable to dertermine customer type from data. All customers set as residential
| Long rural |  | Number of | N/A | Unable to dertermine customer type from data. All customers set as residential
| Standalone power systems |  | Number of | N/A | Unable to dertermine customer type from data. All customers set as residential
Metered supply points by feeder category (supply voltage)
Sub-transmission voltage
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | N/A
| Short rural |  | Number of | N/A
| Long rural |  | Number of | N/A
| Standalone power systems |  | Number of | N/A
High voltage
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | N/A
| Short rural |  | Number of | N/A
| Long rural |  | Number of | N/A
| Standalone power systems |  | Number of | N/A
Low voltage
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 40 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Number of | 48142 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Number of | 2011
| Standalone power systems |  | Number of | 84
Unmetered supply points |  | NQR13
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 29 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Number of | 593 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Number of | 7
Street lights
| Street lights reported faulty in the metropolitan area | CCD24 | Number of | 131
| Street lights reported faulty in regional areas | CCD25 | Number of | 222
| Street lights not repaired within five days in the metropolitan area | CCD26 | Number of | 10
| Street lights not repaired within nine days in regional areas | CCD28 | Number of | 25
| Street lights in the metropolitan area as of June 30 | CCD30 | Number of | 7892
| Street lights in regional areas as of June 30 | CCD31 | Number of | 11927
| Mean number of days to repair faulty street lights in the metropolitan area | CCD32 | Days | 1.4059
| Mean number of days to repair faulty street lights in the regional area | CCD33 | Days | 4.0155
Energy delivered by feeder category (customer type) |  | NQR14
Residential
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 0.15758 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | GWh | 404.7257 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | GWh | 11.3355 | Asset Systems
Non-residential
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 21.6779 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | GWh | 796.6698 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | GWh | 4.952
Energy delivered by feeder category (supply voltage)
Sub-transmission voltage
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 0
| Short rural |  | GWh | 2.0991
| Long rural |  | GWh | 0
High voltage
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 0 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | GWh | 206.0686 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | GWh | 0
Low voltage
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 21.8355 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | GWh | 993.2278 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | GWh | 16.2875
Line length by feeder category (line type) |  | NQR15
Underground lines
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | 40.82 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | km | 2431.13 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | km | 56.55
Overhead lines
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | 0 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | km | 2172.45 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | km | 2978.06
Line length by feeder category (supply voltage)
Sub-transmission voltage
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | N/A
| Short rural |  | km | N/A
| Long rural |  | km | N/A
High voltage
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | 29.25 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | km | 2499.54 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | km | 2975.38
Low voltage
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | 11.57 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | km | 2104.04 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | km | 59.23
Other asset information
| Sub-transmission transformers | NQR16 | Number of | N/A
| Total capacity of sub-transmission transformers |  | MVA | N/A
| Distribution transformers |  | Number of | 4407
| Total capacity of distribution transformers |  | MVA | 868.6496
| Total distribution losses | NQR17 | Percentage | N/A
| Size of network service area | NQR18 | km2 | N/A
| Total poles | NQR19 | Number of | 57571 | Includes both Distribution & Transmission Poles
| Peak electrical demand | NQR20 | MW | N/A
Network Reliability
Extended or frequent interruptions
| Small use customer premises interrupted for more than 12 hours continuously (whole network) | NQR1 | Number of | 1132
| Interruptions to small use customers that lasted for more than 12 hours continuously (whole network) |  | Number of | 155
| Small use customer premises interrupted more than 9 times (urban areas) | NQR2 | Number of | N/A
| Small use customer premises interrupted more than 16 times (non-urban areas) |  | Number of | 302
Mean duration of supply interruption to premises for each discrete area |  | NQR3
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | N/A
| Non-urban areas |  | Minutes | 86.19
| Standalone power systems |  | Minutes | 575.2163
Mean number of supply interruptions to premises for each discrete area |  | NQR4
| Perth CBD only |  | Number | N/A
| Urban areas excluding Perth CBD |  | Number | N/A
| Non-urban areas |  | Number | 2.6
| Standalone power systems |  | Number | 0.29238
Mean percentage of time that electricity has been supplied to premises for each discrete area |  | NQR5
| Perth CBD only |  | Percentage | N/A
| Urban areas excluding Perth CBD |  | Percentage | N/A
| Non-urban areas |  | Percentage | 99.98%
| Standalone power systems |  | Percentage | 99.89%
Mean cumulative duration of supply interruptions to premises |  | NQR6
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | N/A
| Non-urban areas |  | Minutes | 223.1609
| Standalone power systems |  | Minutes | 161.9002
SAIDI & SAIFI inputs
Customer base |  | FC1-12
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 51 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Number of | 50952 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Number of | 2062
Sum of all customer outage durations (total network)
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | 11522.19 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Minutes | 8483329.63 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Minutes | 1286775.38
Sum of all customer outage durations (distribution network - planned)
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | 0 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Minutes | 2135519.49 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Minutes | 178018.01
Sum of all customer outage durations (distribution network - unplanned)
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | 11522.19 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Minutes | 6347810.14 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Minutes | 1108757.37
Sum of all customer outage durations (normalised distribution network)
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | 11522.19 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Minutes | 5071394.47 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Minutes | 1054096.16
Unique customer interruptions (total network)
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 24 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Number of | 102516 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Number of | 9192
Unique customer interruptions (distribution network - planned)
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 0 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Number of | 13656 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Number of | 844
Unique customer interruptions (distribution network - unplanned)
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 24 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Number of | 88860 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Number of | 8348
Unique customer interruptions (normalised distribution network)
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 24 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Short rural |  | Number of | 82780 | Change in value due to annual reclassification of Urban and Short Rural feeders in NWIS
| Long rural |  | Number of | 7969
Customer service
NQR Code complaints |  | NQR8
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 42
| Standalone power systems |  | Number of | 0
| All other areas |  | Number of | 55
| Total amount spent addressing NQ&R Code complaints (that Part 2, or an instrument made under section 14(3) of the NQ&R Code, has not been, or is not being, complied with) other than by way of payment under sections 18 and 19 of the NQ&R Code | NQR9 | Dollars | 2168849.28 | Service Orders are now included in the work orders for Power Quality & Reliability complaints
| Total number of NQR Code complaints received (that Part 2, or an instrument made under section 14(3) of the NQR Code, has not been, or is not being, complied with) | NQR7 | Number of | 97
| NQR Code complaints concluded within 15 business days | NQR7A | Number of | 97
Non-NQR Code complaints
| Complaints received total (excluding NQR7 complaints) | CCD8 | Number of | 225
| Administrative process or customer service complaints | CCD9 | Number of | 170
| Miscellaneous complaints | CCD10 | Number of | 0
| Customer complaints concluded within 15 business days (excluding NQR7 complaints) | CCD11 | Number of | 206
| Customer complaints concluded within 20 business days (excluding NQR7 complaints) | CCD13 | Number of | 213
| Complaints about the installation or operation of a pre-payment meter at a customer's supply address | CCD19 | Number of | 5
| Pre-payment meter complaints resolved within 15 business days | CCD20 | Number of | 5
Call centre performance
| Telephone calls to a call centre of the distributor | CCD34 | Number of | 12926
| Telephone calls to a call centre answered within 30 seconds | CCD35 | Number of | 6706
| Mean period before a call is answered | CCD37 | Seconds | 84.91
| Calls unanswered | CCD38 | Number of | 2765 | 2 large Unplanned outages in Broome and Esperance on Aug 12 - resulting in additional 600 Calls in a 45 minute window
Compensation payments
| Payments made under clause 98 of the Code of Conduct | CCD22 | Number of | 0
| Total amount paid under clause 98 of the Code of Conduct |  | Dollars | 0
| Payments made under clause 97 of the Code of Conduct | CCD23 | Number of | 48
| Total amount paid under clause 97 of the Code of Conduct |  | Dollars | 5300
| Section 18 NQR Code payments made | NQR10 | Number of | 11
| Section 18 NQR Code payment sum |  | Dollars | 220
| Section 19 NQR Code payments made | NQR11 | Number of | 83
| Section 19 NQR Code payment sum |  | Dollars | 9960
Note on E228: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2 large Unplanned outages in Broome and Esperance on Aug 12 - resulting in additional 600 Calls in a 45 minute window

## Data and derived distribution (hidden)
Reporting years | FY2023-24
FY2024-25
FY2025-26
FY2026-27
FY2027-28
FY2028-29
FY2029-30
Licencees
Western Power (EDL1)
BHP Nickel West Pty Ltd (EDL2)
TEC Desert Pty Ltd & TEC Desert No. 2 Pty Ltd (EDL3)
Peel Renewable Energy Pty Ltd (EDL7)
Goldfields Power Pty Ltd (EDL8)
Ocean Reef Renewable Energy Pty Ltd (EDL9)
Eglinton Village Energy Pty Ltd (EDL10)
Horizon Power (EIRL2)
Rottnest Island Authority (EIRL3)
SAIDI
Overall
| Whole network | Minutes | 184.3329
| Perth CBD only | Minutes | #VALUE!
| Urban areas excluding Perth CBD | Minutes | 225.9253
| Short rural | Minutes | 166.4965
| Long rural | Minutes | 624.0424
Distribution network - planned
| Whole network | Minutes | 43.5982
| Perth CBD only | Minutes | #VALUE!
| Urban areas excluding Perth CBD | Minutes | 0
| Short rural | Minutes | 41.9124
| Long rural | Minutes | 86.3327
Distribution network - unplanned
| Whole network | Minutes | 140.7348
| Perth CBD only | Minutes | #VALUE!
| Urban areas excluding Perth CBD | Minutes | 225.9253
| Short rural | Minutes | 124.5841
| Long rural | Minutes | 537.7097
Normalised distribution network
| Whole network | Minutes | 115.6509
| Perth CBD only | Minutes | #VALUE!
| Urban areas excluding Perth CBD | Minutes | 225.9253
| Short rural | Minutes | 99.5328
| Long rural | Minutes | 511.2009
SAIFI
Overall
| Whole network | Number of | 2.1056
| Perth CBD only | Number of | #VALUE!
| All urban areas | Number of | 0.47059
| Short rural | Number of | 2.012
| Long rural | Number of | 4.4578
Distribution network - planned
| Whole network | Number of | 0.27325
| Perth CBD only | Number of | #VALUE!
| All urban areas | Number of | 0
| Short rural | Number of | 0.26802
| Long rural | Number of | 0.40931
Distribution network - unplanned
| Whole network | Number of | 1.8323
| Perth CBD only | Number of | #VALUE!
| All urban areas | Number of | 0.47059
| Short rural | Number of | 1.744
| Long rural | Number of | 4.0485
Normalised distribution network
| Whole network | Number of | 1.7106
| Perth CBD only | Number of | #VALUE!
| All urban areas | Number of | #VALUE!
| Short rural | Number of | #VALUE!
| Long rural | Number of | 0
CAIDI
Cumulative duration of customer outages (net total)
| Whole network | SAIDI/SAIFI | 87.5454
| Perth CBD only | SAIDI/SAIFI | #VALUE!
| All urban areas | SAIDI/SAIFI | 480.0913
| Short rural | SAIDI/SAIFI | 82.7513
| Long rural | SAIDI/SAIFI | 139.9886
Cumulative duration of customer outages (distribution network - planned)
| Whole network | SAIDI/SAIFI | 159.5543
| Perth CBD only | SAIDI/SAIFI | #VALUE!
| All urban areas | SAIDI/SAIFI | #DIV/0!
| Short rural | SAIDI/SAIFI | 156.3796
| Long rural | SAIDI/SAIFI | 210.9218
Cumulative duration of customer outages (distribution network - unplanned)
| Whole network | SAIDI/SAIFI | 76.8069
| Perth CBD only | SAIDI/SAIFI | #VALUE!
| All urban areas | SAIDI/SAIFI | 480.0913
| Short rural | SAIDI/SAIFI | 71.4361
| Long rural | SAIDI/SAIFI | 132.8171
Cumulative duration of customer outages (normalised distribution network)
| Whole network | SAIDI/SAIFI | 67.6084
| Perth CBD only | SAIDI/SAIFI | #VALUE!
| All urban areas | SAIDI/SAIFI | #VALUE!
| Short rural | SAIDI/SAIFI | #VALUE!
| Long rural | SAIDI/SAIFI | #DIV/0!